## Operation Data
Normalization
[6 empty] | System Specification | [24 empty] | Element Specification
[6 empty] | Number of Stages |  |  | 1 | [21 empty] | Membrane Area (ft2) |  | 400 | 0 | 0 | 0
[6 empty] | Membrane Model |  |  | BW 400 R | [21 empty] | TCFA |  | 3400 | 0 | 0 | 0
[6 empty] | Units |  |  | English | [21 empty] | TCFB |  | 4300 | 0 | 0 | 0
| Required | Optional | Calculated |  |  | Number of Pressure Vessels
Number of Pressure Vessels (Stage 2)
Number of Pressure Vessels (Stage 3)
Number of Membranes Per Vessel
Total Membrane Area (ft2)
Hybrid Configuration
Membrane Model
# per Vessel
Membrane Model (Stage 2)
# per Vessel (Stage 2)
Membrane Model (Stage 3)
# per Vessel (Stage 3)
[5 empty] | Flow (gpm) |  | Pressure (psi) |  |  | Concuctivity (uS/cm) | [13 empty] | User Defined
[5 empty] | Stage 1 | [6 empty] | Stage 2 | [5 empty] | Stage 3
[5 empty] | Flow (gpm) |  | Pressure (psi) |  |  | Concuctivity (uS/cm) |  | Flow (gpm) |  | Pressure (psi) |  |  | Concuctivity (uS/cm) | Flow (gpm) |  | Pressure (psi) |  |  | Concuctivity (uS/cm) | User Defined | [5 empty] | Stage 1 | [7 empty] | Stage 2 | [8 empty] | Stage 3 | [8 empty] | Total | [7 empty] | Stage 1 | [10 empty] | Stage 2 | [10 empty] | Stage 3 | [10 empty] | Total
| Date | Time | pH | Temp (°C) | Conc | Perm | Feed | Conc | Perm | Feed | Perm | Conc | Perm | Feed | Conc | Perm | Perm | Conc | Perm | Feed | Conc | Perm | Perm | 1 | 2 | 3 | 4 | 5 | Comment | TCF (Water) | TCF (Salt) | Feed TDS (ppm) | Perm TDS (ppm) | Average Feed TDS (ppm) | Concentration Polarization Factor | Average Feed Osmotic Pressure (psi) | Permeate Osmotic Pressure (psi) | TCF (Water) | TCF (Salt) | Feed TDS (ppm) | Feed Conductivity (uS/cm) | Perm TDS (ppm) | Average Feed TDS (ppm) | Concentration Polarization Factor | Average Feed Osmotic Pressure (psi) | Permeate Osmotic Pressure (psi) | TCF (Water) | TCF (Salt) | Feed TDS (ppm) | Feed Conductivity (uS/cm) | Perm TDS (ppm) | Average Feed TDS (ppm) | Concentration Polarization Factor | Average Feed Osmotic Pressure (psi) | Permeate Osmotic Pressure (psi) | TCF (Water) | TCF (Salt) | Feed TDS (ppm) | Perm TDS (ppm) | Average Feed TDS (ppm) | Concentration Polarization Factor | Average Feed Osmotic Pressure (psi) | Permeate Osmotic Pressure (psi) | Feed Flow (gpm) | Recovery (%) | Flux (gfd) | Differential Press (psi) | TMP (psi) | Net Driving Pressure (psi) | A-Value [Specific Flux] (gfd/psi) | B Value [STC] (m/s) | Normalized Permeate Flow (gpm) | Normalized Salt (%) Passage | Normalized Differential Pressure (psi) | Feed Flow (gpm) | Recovery (%) | Flux (gfd) | Differential Press (psi) | TMP (psi) | Net Driving Pressure (psi) | A-Value [Specific Flux] (gfd/psi) | B Value [STC] (m/s) | Normalized Permeate Flow (gpm) | Normalized Salt (%) Passage | Normalized Differential Pressure (psi) | Feed Flow (gpm) | Recovery (%) | Flux (gfd) | Differential Press (psi) | TMP (psi) | Net Driving Pressure (psi) | A-Value [Specific Flux] (gfd/psi) | B Value [STC] (m/s) | Normalized Permeate Flow (gpm) | Normalized Salt (%) Passage | Normalized Differential Pressure (psi) | Feed Flow (gpm) | Permeate Flow (gpm) | Concentrate Flow (gpm) | Permeate Conductivity (uS/cm) | Recovery (%) | Flux (gfd) | Differential Press (psi) | TMP (psi) | Net Driving Pressure (psi) | A-Value [Specific Flux] (gfd/psi) | B Value [STC] (m/s) | Normalized Permeate Flow (gpm) | Normalized Salt (%) Passage | Normalized Differential Pressure (psi)

## Membrane Models (hidden)
Membrane Models | Area | TCFA | TCFB | Graphed Parameters
Hybrid |  |  |  | Feed pH | - | - | 0
BW 400 R | 400 | 3400 | 4300 | Feed Temperature (°C) | - | - | 0
BW 400 R G2 | 400 | 3400 | 3800 | Feed Conductivity (µS/cm) | - | - | 0
BW 440 R | 440 | 3400 | 4300 | Feed Flow (gpm) | Feed Flow (gpm) | Feed Flow (m³/hr)
BW 440 R G2 | 440 | 3400 | 3800 | Feed Pressure (psi) | Feed Pressure (psi) | Feed Pressure (bar)
MaxRO R | 400 | 3400 | 3800 | Concentrate Flow (gpm) | Concentrate Flow (gpm) | Concentrate Flow (m³/hr)
BW 400 R Dura | 400 | 3400 | 3800 | Concentrate Pressure (psi) | Concentrate Pressure (psi) | Concentrate Pressure (bar)
BW 440 R Dura | 440 | 3400 | 3800 | Permeate Conductivity (µS/cm) | - | -
BW 400 AFR | 400 | 3400 | 4300 | Permeate Flow (gpm) | Permeate Flow (gpm) | Permeate Flow (m³/hr)
BW 400 AFR G2 | 400 | 3400 | 3800 | Permeate Pressure (psi) | Permeate Pressure (psi) | Permeate Pressure (bar)
BW 400 ES | 400 | 3400 | 4300 | Recovery (%) | - | -
BW 400 ES G2 | 400 | 3400 | 4300 | Flux (gfd) | Flux (gfd) | Flux (lmh)
BW 440 ES | 440 | 3400 | 4300 | Differential Pressure (psi) | Differential Pressure (psi) | Differential Pressure (bar)
BW 440 ES G2 | 440 | 3400 | 4300 | TMP (psi) | TMP (psi) | TMP (bar)
BW 400 ES L | 400 | 3400 | 4300 | Net Driving Pressure (psi) | Net Driving Pressure (psi) | Net Driving Pressure (bar)
BW 440 ES L | 440 | 3400 | 4300 | A Value (gfd/psi) | - | -
BW MOST | 400 | 2636 | 4527 | B Value (m/s) | - | -
BW MOST+ | 440 | 2636 | 4527 | Normalized Permeate Flow (gpm) | Normalized Permeate Flow (gpm) | Normalized Permeate Flow (m³/hr)
BW 400 UES | 400 | 2636 | 4527 | Normalized Salt Passage (%) | - | -
BW 440 UES | 440 | 2636 | 4527 | Normalized Differential Pressure (psi) | Normalized Differential Pressure (psi) | Normalized Differential Pressure (bar)
BW 4040 R | 85 | 3400 | 4300
BW 4040 ES | 85 | 3400 | 4300
BW 4040 UES | 85 | 2636 | 4527
BW 2540 R | 22 | 3400 | 4300
BW 2521 R | 9 | 3400 | 4300
BW 2540 ES | 22 | 3400 | 4300
BW 2521 ES | 9 | 3400 | 4300
BW 2540 UES | 22 | 2636 | 4527
BW 2521 UES | 9 | 2636 | 4527
SW 400 R | 400 | 3070 | 6600
SW 400 R G2 | 400 | 3070 | 6200
SW 440 R | 440 | 3070 | 6600
SW 440 R G2 | 440 | 3070 | 6200
SW 400 GR | 400 | 3070 | 6200
SW 400 GR G2 | 400 | 3070 | 6200
SW 440 GR | 440 | 3070 | 6200
SW 440 GR G2 | 440 | 3070 | 6200
SW 400 SR | 400 | 3070 | 6200
SW 400 SR G2 | 400 | 3070 | 6200
SW 440 SR | 440 | 3070 | 6200
SW 440 SR G2 | 440 | 3070 | 6200
SW 400 ES | 400 | 3070 | 6000
SW 440 ES | 440 | 3070 | 6000
SW 4040 R | 85 | 3070 | 6600
NF 9 | 400 | 2900 | 3250
NF 400 | 400 | 2636 | 4527

## NPF
Stage: | Total

## NSP
Stage: | Total

## NDP
Stage: | Total

## Custom Graph
Field 1: | Select Parameter | Stage: | Total | Min Value: | Max Value:
Field 2: | Select Parameter | Stage: | Total | Min Value: | Max Value:
Field 3: | Select Parameter | Stage: | Total | Min Value: | Max Value: